## Sheet1
S.No | Centre Name | Equipment Short Name | Equipment Full Name | Make & Model | Specification | Sponsoring Agency | Working Status
1 | Central Instrumentation Facility | FESEM | Field Emission Scanning Electron Microscope | Zeiss, Germany & Sigma 360 | Morphology characterization of materials with elemental composition analysis | VEL TECH UNIVERSITY | Working
2 | Central Instrumentation Facility | Microscope | Optical Microscope | Leica Microsystems, Germany & Visoria M | Microstructure analysis, grain size analysis, phase analysis and fluorescence imaging | VEL TECH UNIVERSITY | Working
3 | Central Instrumentation Facility | STA / TGA | Simultaneous Thermal Analyzer | NETZSCH, Germany | Thermal characteristics of materials up to 1600°C | VEL TECH UNIVERSITY | Working
4 | Central Instrumentation Facility | Disc Polishing Machine | Double disc polishing and mounting machines | Chennai Metco, India & BAINMOUNT-P Auto and Bainpol VTD | Metallographic sample preparation (Mold, polishing and etching) | VEL TECH UNIVERSITY | Working
5 | Centre For Structural Engineering | Ball Mill | LABORATORY BALL MILL | AIMIL LTD & AIM 441 | Digital counter for recording the revolutions. and Ball Mill for 5kg capacity. | DST (SERB TARE) | Working
6 | Centre For Bioenergy And Bioproducts Development Laboratory | Fermenter | Fermenter | Make: Biojenik Engineering Model: P500 | Capacity: 500L fermenter, used in pilot-scale processes for biomethane production | DST (TMD/CERI) | Working
7 | Centre For Bioenergy And Bioproducts Development Laboratory | Glove Box | Anaerobic glove box | Biojenik Engineering | It is made with construction materials (such as acrylic and steel), to create an oxygen-free environment for working with anaerobic bacteria | DST (TMD/CERI) | Working
8 | Centre For Bioenergy And Bioproducts Development Laboratory | Biogas Analyzer | Biogas Analyzer | Geotech Analyzer (QED Environmental system) | Biogas analysers monitor methane, carbon dioxide and oxygen balance | DST (TMD/CERI) | Working
9 | Centre For Bioenergy And Bioproducts Development Laboratory | Photobioreactor | Flat panel Photobioreactor | Biojenik Engineering | It is cultivation system used for microalgae, that consists of two transparent, flat plates separated by a small gap, creating a thin culture layer with 250 litres capacity. | DST (TMD/CERI) | Working
10 | Centre For Bioenergy And Bioproducts Development Laboratory | Tray dryer | Tray dryer | Zigma Hot air oven | Tray Dryer is a high-performance system resulting in fast, uniform drying with 12-trays. | DST (TMD/CERI) | Working
11 | High Speed Bearing Test Facility | High Speed Bearing Test Bed |  | ABB | Power: 355kW, 2 pole, Input Speed: 2980 rpm, 415V AC, Torque :1140Nm, Frame size 355L, Foot mounted Power: 355kW, Ratio: 1:7, Input Speed 2900rpm, Output Speed:20000rpm Type GFD, Size :25, Max speed 5000 rpm Max. speed: 20000 rpm, Torque: 165Nm | VEL TECH UNIVERSITY | Working
15 | High Speed Bearing Test Facility | Oil Level sensor | Oil Level sensor | Flipro | 350mm | VEL TECH UNIVERSITY | Working
20 | High Speed Bearing Test Facility | Heaters | Heaters | Elmac | 4 kW Ceramic heaters, Tank mounted | VEL TECH UNIVERSITY | Working
23 | High Speed Bearing Test Facility | Accelerometer | Accelerometer | Dynaspede | Type : Piezoelectric, Voltage sensitivity – typical : 23.46mV/g, Frequency range +5% : Up to 15kHz.,Charge sensitivity – typical: 54.36pC/g, Amplitude linearity: 0.1%, Mounted Resonant frequency:> 37kHz,Maximum shock:3000g,Capacitance (inclusive of cable) – typical:2317pF,Capacitance of the cable- typical :102 pF / m, Minimum leakage resistance at 23°C:20G W, Temperature :-20 to + 180°C | VEL TECH UNIVERSITY | Working
24 | Centre For Battery Engineering | battery analyser | Advanced battery analyser | CADEX C-8000 | Battery measurements | VEL TECH UNIVERSITY | Working
25 | Centre For Battery Engineering | electrochemical work station | Electrochemical work station | OCTOSTAT-5000 | Electrochemical measurements | VEL TECH UNIVERSITY | Working
26 | Centre For Battery Engineering | uv vis spectrophotometer | UV Visible spectrophotometer | Hitachi UV-2010 | Absorbance measurement from 200 nm to 800 nm | VEL TECH UNIVERSITY | Working
27 | Centre For Battery Engineering | furnace | Tubular furnace | HSN 8514 | Temp 1100 °C | VEL TECH UNIVERSITY | Not installed
28 | Centre For Battery Engineering | vacuum oven | Vacuum oven | LKS-VCM25LR | Working voltage:AC110V/220V Temp 200°C | VEL TECH UNIVERSITY | Working
29 | Centre For Battery Engineering | crimping decrimping machine | Crimping/decrimping machine | LKC - HCM100 | Applicable for CR2016, CR2025 & CR2032 Coin Cells | VEL TECH UNIVERSITY | Not installed
30 | Centre For Battery Engineering | coin cell cutting | Coin-cell cutting machine | LKS - DCM100 | Punching die: Size (10,12,16 and 18) | VEL TECH UNIVERSITY | Not installed
31 | Centre For Additive Manufacturing | 3D-Printer | Extrusion based 3D printer | Fabforge | Technology: PDM (Paste Deposition Modeling) Gantry Setup: Cartesian - Semi Open No. of Heads / Nozzles: 2 (Inline Extruder Setup) System: Paste Dispensing System Build Size: 100 x 100 x 100 in mm Nozzle Size: 0.4 mm to 1.2 mm Power Consumption: 360W or Higher Supported Materials: All kind Gel and Cream Head Volume: 20 cc and 55 cc Syringe Barrels Slicer S/W: Simplyfi 3D User Interface: Wifi & Web Enabled Display 5.0” Touch Display | DST (SERB TARE) | Working
32 | Centre For Additive Manufacturing | Vacuum mixer | Vacuum mixer | CASCO | Power supply: 220V/50-60 Hz Power consumption: 150 W Mixing speed: 320 rpm Mixing jar: 500 ml and 1 l Alarm time adjustment: 0-120 sec Extra features: In-build vacuum pump and vibrator Vacuum: 0.08 - 0.09 MPa Dimension: 530-300-330 mm | DST (SERB TARE) | Working
33 | Centre For Additive Manufacturing | 3D-Printer | DLP 3D printer and Accessories | ELEGOO SATURN 3 ULTRA | XY resolution: 11520*5120(19*24 μm) Build volume: 218.88*122.88*260mm Motherboard system: Linux Printing speed: upto 150mm/h Touch screen: IPS capacitive Touch screen Z axis: Ball screw + Dual linear Rails Release film: ACF Release film File transfer: Wifi, USB Light source: COB + Refractive light source Levelling method: 4-point levelling Slicing format: Open-source GOO format Screen protector: 9H tempered glass Air purifier: Supported | DST (SERB TARE) | Working
34 | Centre For Additive Manufacturing | FDM printer | FDM printer | Flashforge Adventurer 5M Pro | Nozzle Diameter: 0.4mm Build Volume: 220 × 220 × 220 mm Build Plate: Flexible removable PEI steel plate Shell: Enclosed Extruder: Direct drive; Qty: 1 Extruder Temperature: 280°C Speed: Max travel speed: 600mm/s Display Screen: 4.3-inch Compatible Slicing Software: FlashPrint 5/Orca-Flashforge/Orca Slicer Filament: *PLA/*PETG (0.4mm nozzle), ABS/ASA, Platform Temperature: 100ºC Device Size: 380*400*453mm (excluding the spool holder) Connectivity: Wi-Fi; Ethernet; USB | VEL TECH UNIVERSITY | Working
35 | Centre For Additive Manufacturing | DLP Printer | DLP Printer and Accessories | ELEGOO SATURN 4 | LCD:10-Inch 12K Mono LCD System: EL3D-3.0.1 Technology: MSLA Stereolithography Layer Thickness: 0.01-0.2mm Printing Speed: MAX 70mm/h Z Axis Accuracy: 0.02mm XY Resolution: 19*24um (11520*5120) Build Volume: 218.88mm(L)*122.88mm(W)*220mm(H) Light Source: COB Light Source + Fresnel Collimating Lens (wavelength 405nm) Connectivity: USB Interface Operation: 3.5-inch Resistive Touch Screen Power Requirements: 100-240V 50/60 Hz 24V 6A Printer Dimensions: 327.4mm(L)*329.2mm(W)*548mm(H) | VEL TECH UNIVERSITY | Working
36 | Centre For Additive Manufacturing | Muffle furnace | Muffle furnace | Everflow | Maxi temp: 900 °C | DST (SERB TARE) | Working
37 | Centre For Additive Manufacturing | Oven | Oven | Everflow | Maxi temp: 100 °C | DST (SERB TARE) | Working
38 | Centre For Thermal Management | Muffle Furnace | Muffle Furnace | SG Furnace Control Systems (SL.NO. 616) | 3.5kW, 230V, Max Temp 700°C | VEL TECH UNIVERSITY | Working
39 | Centre For Thermal Management | Midi LOGGER | Midi LOGGER | Graphtec Corporation, Model GL260 | Ranges: 1Vp-p max / 60Vp-p max. Power: 8.5-24V, 15VA. | VEL TECH UNIVERSITY | Working
40 | Centre For Thermal Management | Spin Coating Unit | Spin Coating Unit | 2012 Model | Unit with digital RPM and Timer controls. | DRDO (ARMREB) | Working
41 | Centre For Biomedical Signal Processing | Data Acqusition Card | Data Acqusition Card | Plux Signal, DAQmx Device | Multifunction I/O Device, USB-6009, 48 kSPS, 14 bit, 8 Input, 2 Output, 13 I/O, ± 10 V, DAQmx Device | DST (SERB TARE) | Working
42 | Centre For Biomedical Signal Processing | LCR METER | LCR METER | Fluke | Measurement Parameters: L, C, R, Z, D, Q, θ Frequency Range: 20 Hz to 300 kHz Measurement Accuracy: ±0.2% basic accuracy Test Signal Levels: 0.1 V to 1.0 V RMS Interface: USB and RS-232 (for PC connectivity) | DST (SERB TARE) | Working
43 | Centre For Biomedical Signal Processing | EMG, EEG, EOG, ECG, EGG Sensor | EMG, EEG, EOG, ECG, EGG Sensor | PluxSignal | 1K sampling Rate, three/two electrode system | DST (SERB TARE) | Working
44 | Centre For Biomedical Signal Processing | DSO | Digital Storage Oscilloscope | Multicomp Pro | 4 CH, 100MHZ, 40MPTS, 1GSPS | DST (SERB TARE) | Working
45 | Centre For Biomedical Signal Processing | Digital Multi Meter | Digital Multi Meter | Fluke | 4.5 Digit | DST (SERB TARE) | Working
46 | Centre For Molecular Photoscience | uv vis Spectrophotometer | Spectrophotometer | UV-1800 / SHIMADZU | 200-800 nm | DST (SERB TARE) | Working
47 | Centre For Molecular Photoscience | Spectrofluorometer | Spectrofluorometer | F-4500 / Hitachi | 400-800 nm | VEL TECH UNIVERSITY | Working
48 | Centre For Molecular Photoscience | Semi micro weighing balance | Semi micro weighing balance | AUW120 / SHIMADZU | 0.002g-1g | VEL TECH UNIVERSITY | Working
49 | Centre For Iot And Expert Systems | Server | Server | Tyrone | - | DBT | Working
50 | Centre For Iot And Expert Systems | 3D Printer | 3D Printer | Flashforge | - | DBT | Working
51 | Centre For Iot And Expert Systems | NVIDIA Jetson AGX Orin Developer Kit | NVIDIA Jetson AGX Orin Developer Kit | NVIDIA | AI performance: up to 275 TOPS (INT8) for edge AI workloads | DBT | Working
52 | Centre For Iot And Expert Systems | NVIDIA Jetson Orin Nano Developer Kit | NVIDIA Jetson Orin Nano Developer Kit | NVIDIA | AI performance: up to 67 TOPS for the “Orin Nano Super” version | DBT | Booting problem
53 | Centre For Iot And Expert Systems | Raspberry Pi 5 | Raspberry Pi 5 Model 8GB | Raspberry Pi 5 (8 GB RAM version) | Broadcom BCM2712, quad-core 64-bit Arm Cortex-A76 @ 2.4 GHz. | DBT | Working
54 | Centre For Iot And Expert Systems | Raspberry Pi 5 Active Cooler | Official Raspberry Pi 5 Active Cooler | - | - | DBT | Working
55 | Centre For Iot And Expert Systems | Raspberry Pi AI Kit | Official Raspberry Pi AI Kit | Raspberry Pi AI Kit (by Raspberry Pi Ltd) | (Hailo-8L) capable of approx 13 tera-operations per second (TOPS) | DBT | Working
56 | Centre For Iot And Expert Systems | Raspberry Pi AI Kit | Official Raspberry Pi AI Kit | Raspberry Pi Compute Module 4 | RAM: 1 GB, 2 GB, 4 GB or 8 GB LPDDR4 depending on the variant. | DBT | Working
57 | Centre For Iot And Expert Systems | Raspberry Pi Compute Module | Raspberry Pi Compute Module 4 I/O Board | Raspberry Pi 5 (4 GB RAM version) | Broadcom BCM2712, quad-core 64-bit Arm Cortex-A76 @ 2.4 GHz. | DBT | Working
58 | Centre For Iot And Expert Systems | Coral Dev Board Micro | Coral Dev Board Micro | Coral, Dev Board Micro | NXP i.MX RT1176 – dual-core: Cortex-M7 @ up to ~800 MHz + Cortex-M4 @ ~400 MHz. | DBT | Working
59 | Centre For Iot And Expert Systems | Raspberry Pi Compute Module 4 | Raspberry Pi Compute Module 4 - 4GB RAM, 32GB eMMC, 2.4/5.0GHz Wi-Fi & Bluetooth 5.0 (CM4104032) | Raspberry Pi 5 (4 GB RAM version) | Broadcom BCM2712, quad-core 64-bit Arm Cortex-A76 @ 2.4 GHz. | DBT | Working
60 | Centre For Iot And Expert Systems | LattePanda Sigma | LattePanda Sigma - The Small Hackable x86 Windows/Linux Single Board Computer Server (16GB RAM/500GB SSD and WiFi 6E Module | LattePanda Sigma – Single Board Computer (x86, Windows/Linux) | CPU: Intel Core i5-1340P (13th gen) with Intel Iris Xe Graphics. | DBT | Working
61 | Centre For Iot And Expert Systems | Water Quality Meter | Water Quality Meter | Laqua WQ | - | DBT | Working
62 | Centre For Iot And Expert Systems | Function Generator | Function Generator | Gwen Stek | 0.1HZ-3MHZ | DBT | Working
63 | Centre For Iot And Expert Systems | TV | TV | Samsung | 4K ED UHD | DBT | Working
65 | Centre For Iot And Expert Systems | Cell Phone | Phone | Samsung | 5G latest Snap | DBT | Working
66 | Centre For Iot And Expert Systems | Jetson AGX Xavier | Jetson AGX Xavier | Xavier | - | DBT | Working
67 | Centre For Iot And Expert Systems | Jetson Xavier NX | Jetson Xavier NX | Xavier | - | DBT | Working
68 | Centre For Healthcare Technology Innovation | Halogen Light Source | Halogen Light Source | HL-2000-HP/ Ocean Optics | 20W output power | DST (GITA) | Working
69 | Centre For Healthcare Technology Innovation | Single mode Fiber Fusion Splicer | Single mode Fiber Fusion Splicer | FUJIKURA-33S/ KEITH ELECTRONICS PVT LTD. | - | DST (GITA) | Working
70 | Centre For Healthcare Technology Innovation | uBenifusion pump | uBenifusion pump | Mindray | 5 µl-100ml | DST (GITA) | Working
71 | Centre For Healthcare Technology Innovation | Flame NIR Spectrometer | Flame NIR Spectrometer | Flame NIR/Ocean Optics | 950-1650 nm | DBT | Working
72 | Centre For Metabolic Engineering And Synthetic Biology | Eporator | Eporator | Eppendorf | 100 - 240 V/ 50-60 HZ, for bacteria & yeast with EU | DBT | Working
73 | Centre For Metabolic Engineering And Synthetic Biology | Gelrocker | Gelrocker | Medox-Bio | - | DBT | Working
74 | Centre For Metabolic Engineering And Synthetic Biology | Mastercycler (PCR) | Mastercycler (PCR) | Eppendorf | 230 V/ 50-60 HZ | DBT | Working
75 | Centre For Metabolic Engineering And Synthetic Biology | Minispin | Minispin | Eppendorf | 12x12 mL Rotor, 230 V | DBT | Working
76 | Centre For Metabolic Engineering And Synthetic Biology | Microcentrifuge | Microcentrifuge | CRYSTE | PURISPIN (P17R-MB) with rotor model AS241 | DBT | Working
77 | Centre For Metabolic Engineering And Synthetic Biology | Gel Documentation system | Gel Documentation system | Vilber | - | DBT | Working
78 | Centre For Metabolic Engineering And Synthetic Biology | Ice Flacker | Ice Flacker | Biogreen | - | DBT | Working
79 | Centre For Metabolic Engineering And Synthetic Biology | Low Freezer (-20) | Low Freezer (-20) | Sub zero | 100 L, 230VAC, 50HZ, Single phase | VEL TECH UNIVERSITY | Working
80 | Centre For Metabolic Engineering And Synthetic Biology | Shaker Incubator (2 Nos.) | Shaker Incubator (2 Nos.) | ORBITEK | Std universal tray platform (Aluminum) 2no’s, Stationary tray 2no’s, Spring wire rack (180 RPM), (50-500 mL) conical flaks | DBT | Working
81 | Centre For Metabolic Engineering And Synthetic Biology | Autoclave | Autoclave | Bio green | 40 Ltr. BGE -AC 440 | DBT | Working
82 | Centre For Metabolic Engineering And Synthetic Biology | Hot Air Oven | Hot Air Oven | Bio green | 350x350 – 1.2 KW | DBT | Working
83 | Centre For Metabolic Engineering And Synthetic Biology | Shaker Incubator refrigerated | Shaker Incubator refrigerated | ORBITEK | Std universal tray platform (Aluminum), Stationary tray1 no’s, clamps for 250, 500 mL flasks, UV. C lamp, automatic stabilizer, spring wire rack (180 RPM), (50-500 mL) conical flaks | DBT | Working
84 | Centre For Metabolic Engineering And Synthetic Biology | Micropipette set | Micropipette set | Medox | 0.5-10, 5-150, 10-100, 20-200, 200-1000 µL | VEL TECH UNIVERSITY | Working
85 | Centre For Metabolic Engineering And Synthetic Biology | UPS system | UPS system | Zenelec | 3.0 KVA UPS Input single phase, Output suitable for medical devices with 30 mins battery backup | VEL TECH UNIVERSITY | Working
86 | Centre For Metabolic Engineering And Synthetic Biology | Refrigerated microcentrifuge | Refrigerated microcentrifuge | Eltek | TC 4815 F/ RC 4815 F/ MP 300 R provided with Hydraulic lid lifting and holding, Working Range -10 to +40 degree C | DBT | Working
87 | Centre For Metabolic Engineering And Synthetic Biology | Refrigerator | Refrigerator | Bluestar | SC375F 375 Litre Single Door Visi Cooler | DBT | Working
88 | Centre For Metabolic Engineering And Synthetic Biology | Thermalcycler (PCR) | Thermalcycler (PCR) | BIORAD | T 100 Thermal cycler, 96 x 0.2 ml tubes, 0.2 ml tube strips, or 1 x 96-well plate, 4–100°C, Input power: 100–150 VAC, 50–60 Hz; 220–240 VAC, 50–60 Hz; 700 W | VEL TECH UNIVERSITY | Working
89 | Centre For Metabolic Engineering And Synthetic Biology | Biosafety cabinet | Biosafety cabinet | Biobase | AC230V, Internal size - 1210*600*660mm, UV Lamp - 30W, LED lamp - 20W*2 | VEL TECH UNIVERSITY | Not working
90 | Centre For Metabolic Engineering And Synthetic Biology | HPLC | HPLC | Shimadzu | LC-2070, UV – PDA detector, pH - 1 to 13, Four-solvent low-pressure gradient, Max pressure: 50 MPa (0.0001 to 3 mL/min) 44 MPa (3.0001 to 5 mL/min) 22 MPa (5.0001 to 10 mL/min), sample volume 0.1 to 100 μL | VEL TECH UNIVERSITY | Working
91 | Centre For Antenna And Electronic Materials | Keysight Digital Multimeter | Keysight Digital Multimeter | Keysight |  | ISRO (RESPOND) | Working
92 | Centre For Antenna And Electronic Materials | Digital Multimeter | Keithley Digital Multimeter | Keithley |  | DRDO | Working
93 | Centre For Antenna And Electronic Materials | Microwave Power Meter | Microwave Power Meter | - | 10 MHz to 6 GHz Handheld RF Average Power Meter, –60 dBm to +20 dBm | ISRO (RESPOND) | Working
94 | Centre For Antenna And Electronic Materials | Microwave Power Sensor | Microwave Power Sensor | Keysight | 10 MHz to 6 GHz USB Peak and Average Power Sensor, -70 to +26 dBm | ISRO (RESPOND) | Working
95 | Centre For Antenna And Electronic Materials | Screen Printing Machine | Screen Printing Machine | Pearl print | 15"X20" | DRDO | Working
96 | Centre For Antenna And Electronic Materials | Dielectric Constant Meter | Dielectric Constant Meter | SES Instruments | Solid and Liquid sample | DRDO | Working
97 | Centre For Antenna And Electronic Materials | Sheet Resistance Meter | Sheet Resistance Meter | SES Instruments | Solid sample | DRDO | Working
98 | Centre For Antenna And Electronic Materials | Nano VNA | Nano VNA | NanoVNA V2 Plus4 | 10 KHZ to 4 GHz | DRDO | Working
99 | Centre For Antenna And Electronic Materials | CNC Milling machine | 3 Axis CNC Milling machine big | TLC IIITDMK | 3 Axis | VEL TECH UNIVERSITY | Working
100 | Centre For Antenna And Electronic Materials | CNC Milling machine | 3 Axis CNC milling machine Small | TLC IIITDMK | 3 Axis | VEL TECH UNIVERSITY | Working
101 | Centre For Computational Aerodynamics And Shock Waves | High Pressure Compressor | High Pressure Compressor | Assembled | 15 HP motor | DST (SERB TARE) | Working
102 | Centre For Computational Aerodynamics And Shock Waves | Aftercooler | Aftercooler | Assembled | Air Cooled | VEL TECH UNIVERSITY | Working
103 | Centre For Computational Aerodynamics And Shock Waves | High Pressure Storage Tank | High Pressure Storage Tank | Assembled | 3000 litre capacity, 20 Bar | VEL TECH UNIVERSITY | Working
104 | Centre For Computational Aerodynamics And Shock Waves | Diffuser Cone, Settling Chamber, Nozzle Holder, | Diffuser Cone, Settling Chamber, Nozzle Holder, | Assembled | With Gate valve and PRV | VEL TECH UNIVERSITY | Working
105 | Centre For Computational Aerodynamics And Shock Waves | Pressure Scanner with Digital pressure measurement | Pressure Scanner with Digital pressure measurement | Assembled | 8 Channel Scanner | VEL TECH UNIVERSITY | Working
106 | Centre For Computational Aerodynamics And Shock Waves | Flow Visualisation Technique | Flow Visualisation Technique | Assembled | Shadowgraph | VEL TECH UNIVERSITY | Working
107 | Centre For Computational Aerodynamics And Shock Waves | 3 Axis Traverse Mechanism | 3 Axis Traverse Mechanism | Assembled | in mm accuracy | DST (SERB TARE) | Working
108 | Centre For Computational Aerodynamics And Shock Waves | Automation of Traverse Mechanism | Automation of Traverse Mechanism | Assembled | Servo Motors | VEL TECH UNIVERSITY | Working
109 | Centre For Computational Aerodynamics And Shock Waves | Flow Visualisation Technique | Flow Visualisation Technique | Assembled | Schlieren | DST (SERB TARE) | Yet to be installed
110 | Centre For Computational Aerodynamics And Shock Waves | Hypersonic Shock Tunnel | Hypersonic Shock Tunnel | Assembled | Table Top | VEL TECH UNIVERSITY | Working
111 | Centre For Industrial Automation | Optimized Combustion Process Control Station with Data Acquisition Card | Optimized Combustion Process Control Station with Data Acquisition Card | Fabricated | - | CPRI | Working
112 | Centre For Industrial Automation | Air Compressor | Air Compressor | Gajendra Engg.Industries, Coimbatore | 10 litres | CPRI | Working
113 | Centre For Industrial Automation | Industrial High Temp Spot Thermal Camera | Industrial High Temp Spot Thermal Camera | FLIR | Thermal Image Camera | CPRI | Working
114 | Centre For Industrial Automation | Samsung SCB-6003 2 Megapixel 1080P Box Camera | Samsung SCB-6003 2 Megapixel 1080P Box Camera | Samsung | 2 Megapixel | CPRI | Working
115 | Centre For Autonomous System Research | Underwater Vehicle ROV | Underwater Vehicle ROV | - | 100m | DBT | Working
116 | Centre For Autonomous System Research | K++ Flight Controller Combo | K++ Flight Controller Combo | Electrogig - K++ | Dual CPU configuration | DBT | Working
117 | Centre For Autonomous System Research | E410P frame with X8 combo | E410P frame with X8 combo | - | MTOW - 15kg; Payload - 5kg | DBT | Working
118 | Centre For Autonomous System Research | RTK - GNSS | RTK - GNSS | Holybro - F9P | multi-band RTK | DBT | Working
119 | Centre For Autonomous System Research | Drone Camera & Accesseries | Drone Camera & Accesseries | DJI | - | DBT | Working
120 | Centre For Autonomous System Research | NVIDIA AGX XAVIER developer kit | NVIDIA AGX XAVIER developer kit | NVIDIA - AGX XAVIER | - | DBT | Working
121 | Centre For Autonomous System Research | CNC Milling machine | CNC Milling machine | 3D Printronics | 1200 x 1200mm | DRDO | Working
122 | Centre For Autonomous System Research | NI USB DAQ X series | NI USB DAQ X series | National Instruments | - | DRDO | Working
123 | Centre For Autonomous System Research | 3D Printer Fabforge V2 | 3D Printer Fabforge V2 | Fabforge | FDM; Nozzle Temp. 200deg; Bed - 300 x 300 x 300mm | DRDO | Working
124 | Centre For Autonomous System Research | GC Computer | GC Computer | HP - OMEN | 16 GB RAM | DST (GITA) | Working
125 | Centre For Autonomous System Research | Workstation Computer | Workstation Computer | HP - Z440 | Minerva - 16GB RAM | DST (GITA) | Working
126 | Centre For Autonomous System Research | Shunk 6 axis Loadcell | Shunk 6 axis Loadcell | Shunk - FTN-Nano-17 | SI-12-0.12 | DST (GITA) | Working
127 | Centre For Autonomous System Research | Thermal Imager | Thermal Imager | Cem | - | DST (GITA) | Working
128 | Centre For Autonomous System Research | Stereo vision camera | Stereo vision camera | Stereo labs | - | DST (GITA) | Working
129 | Centre For Autonomous System Research | Thermal FLIR Duo camera | Thermal FLIR Duo camera | Rock house | - | DST (GITA) | Working
130 | Centre For Autonomous System Research | Quad Airframe | Quad Airframe | - | MTOW - 1.5kg; Payload - 0.5kg | DST (GITA) | Working
131 | Centre For Autonomous System Research | Multi spectral camera | Multi spectral camera | Micasense - Rededge P dual | Dual Camera; 10 Bands | DST (SERB TARE) | Working
132 | Centre For Autonomous System Research | uv vis-NIR | UV-Visible-NIR Spectrometer | Ocean optics | - | DST (SERB TARE) | Working
133 | Centre For Autonomous System Research | Thrust Stand | Thrust Stand | TYTO labs 1530 | - | ISRO (RESPOND) | Working
134 | Centre For Autonomous System Research | Quad Airframe | Quad Airframe | - | MTOW - 3kg; Payload - 1kg | ISRO (RESPOND) | Working
135 | Centre For Autonomous System Research | Herelink GCS | Herelink GCS | - | Long range HD video transmitter | ISRO (RESPOND) | Working
136 | Centre For Autonomous System Research | NVIDIA Jetson Orion Nano 8GB Developer kit | NVIDIA Jetson Orion Nano 8GB Developer kit | NVIDIA Jetson Orion Nano | 8GB | ISRO (RESPOND) | Working
137 | Centre For Autonomous System Research | HEX Here4 Multiband RTK GNSS GPS module | HEX Here4 Multiband RTK GNSS GPS module | HEX Here4 | Multiband | ISRO (RESPOND) | Working
138 | Centre For Autonomous System Research | Underwater thrusters | Underwater thrusters | Blue robotics - T500, 200 | - | ISRO (RESPOND) | Working
139 | Centre For Autonomous System Research | Ping2 Sonar Altimeter and Echosounder | Ping2 Sonar Altimeter and Echosounder | Blue robotics - Ping2 | - | ISRO (RESPOND) | Working
140 | Centre For Interfaces & Nanomaterials | uv vis Spectrophotometer | UV/VISIBLE SPECTROPHOTOMETER | Marutek & Xenon Coupled Monochromatic Light Source | Wavelength range: 190–1000 nm; Spectral bandwidth: 2 nm | DST (AGRO-TECH) | Working
141 | Centre For Biomaterials & Environmental Biotechnology | LYOPHILIZER | LYOPHILIZER | Carebios & Laboratory Freeze Dryer DFD-12P | Type: Standard chamber with 8-port manifold; Final condenser temp (°C): -55 or -80; Vacuum Degree (Pa): <10 | DBT | Working
142 | Centre For Interfaces & Nanomaterials | FTIR SPECTROPHOTOMETER | FTIR SPECTROPHOTOMETER | Agilent & Cary 630 FTIR Spectrometer | Type: Benchtop FTIR; Sample Type: Soft solids, pellets, pastes, powders, gels; Spectral Range: ATR 4000–600 cm⁻¹ | DBT | Working
143 | Centre For Interfaces & Nanomaterials | CONTACT ANGLE METER | CONTACT ANGLE METER | Kyowa Interface Science & DMe-211 Plus Contact Angle Meter | Measuring Range: 0–180°; Sample Type: Wettability of surfaces (glass, metal, plastics, ceramics) at ambient temperature | DBT | Working
144 | Centre For Materials Research | Muffle Furnace | Muffle Furnace | SG Furnace and Control Systems | Working up to 800 ºC | DRDO (ARMREB) | Working
145 | Centre For Materials Research | Box Furnace | Box Furnace | VB Ceramics | Working up to 1200 ºC | DRDO (ARMREB) | Working
146 | Centre For Materials Research | Microwave Oven | Microwave Oven | MS2043BR/LG | A home-purpose oven for lab utilization. Different frequency power (720, 470, 240, and 120) | VEL TECH UNIVERSITY | Under maintenance
147 | Centre For Materials Research | Hot Air Oven | Hot Air Oven | SG Furnace and Control Systems | Temperature -100 ºC Normal dryer used for material-related research | DRDO (ARMREB) | Working
148 | Centre For Materials Research | Centrifuge Instrument | Centrifuge Instrument | PR-24 / REMI | Maximum of 20,000 rpm | VEL TECH UNIVERSITY | Working
149 | Centre For Materials Research | HEBER-Photocatalytic Instrument | HEBER-Photocatalytic Instrument | HEBER Scientific Company | Two different lamp functions (UV-(340nm) and Visible) Visible light (150w, 240w, 500w) | VEL TECH UNIVERSITY | Working
150 | Centre For Energy Harvesting And Fluid Engineering | Data Logger | Data Logger | Keysight & 20 channel inputs | DAQ970A | DST (SERB TARE) | Working
151 | Centre For Energy Harvesting And Fluid Engineering | Solar pump | Solar pump | Grundfos 16 bar, 10 m3/hr | SQF3A10 | DST (SERB TARE) | Working
152 | Centre For Energy Harvesting And Fluid Engineering | Solarimeter | Solarimeter | Megger | PVK320 | DST (SERB TARE) | Working
153 | Centre For Materials And Manufacturing | DC power supply | DC power supply, single-output, auto-range: 60 V, 10 A, 200 W: LAN, USB | Keysight | E36232A | DST (SERB TARE) | Working